## Details of Instruments

## For

## Energy Audit Assignments

- Tri-vector Power meter with 3 clamp-on type CTs for measurement of unbalanced and balance load.

- Tri-vector Power meters with 1 clamp-on type CT for measurement of balance load.

- Flue Gas analyzer.

- Vane type Anemometer.

- Hot wire type Anemometer.

- Digital temperature indicator for liquids.

- Digital temperature indicator for surface.

- Infra red digital temperature indicator for surface.

- Thermal Imager for thermography of electrical panels, HVAC & Chilled Water System

- Digital Hygrometer for temperature and humidity measurement.

- Transit time Ultrasonic non-contact flow meter for measurement of liquid flow rates.

- Thermal Energy (BTU) meter with Ultrasonic flow meter & Temperature sensors

- Lux Meter.

- Doppler effect Ultrasonic Flow Meter for liquids

- Harmonic Analyzer

- Digital pressure gauges

- Ultrasonic leak detector

- Ultrasonic steam trap tester

- Ultrasonic distance meter

Note: We have at least two sets of each instrument

##### SENERGY Consultants Pvt Ltd

03, Aastha II, Opp Lakme Ltd, B K S Devshi Road, Mumbai 400 088, India

Phone: 91-22-25553297 Email: scpl@senergy.co.in

Website: www.senergy-india.com